## Resiliency Plan Process
In Docket No. 21-08-05, PURA identified four (4) customer categories that are allowed to request capacity rights from the CGB, and participate in the ISO-NE Markets.
These customer categories are: grid edge, critical facilities, C&I customers with fossil fuel generators, and small business customers (<200 kW Peak Demand).
During the incentive application process, qualifying customers are required to inform the Program Administrators if they intend to participate in the ISO-NE Forward Capacity Markets (FCM), and accordingly retain ownership of the capacity rights. As a requirement of the application process, critical facilities, C&I customers with fossil fuel generators, and small business customers (as defined in the Program Manual) must submit a resiliency plan to demonstrate how their system would be recharged when grid-charging is otherwise unavailable. Additionally, customers with onsite fossil-fuel generation must demonstrate their onsite generator has been decommissioned. The Program Administrators have developed a template as a resource for customers and contractors to evolve a resiliency plan. The resource will include:
(1) Customer’s contact information
(2) Contractor’s information
(3) Battery Energy Storage System information, including battery and inverter make and models.
(4) Customer’s criterion that makes them eligible to retain capacity rights, and for which a Resiliency Plan is being requested
(5) Description of Blue Sky Operating Procedure
(6) Description of Black Sky Operating Procedure – extreme weather conditions that may trigger the resiliency plan
(7) Description of onsite generation equipment (if applicable) and resiliency capabilities
The Resiliency Plan template will be available in two forms, as a fillable .PDF file that can be downloaded from the application platform, completed, and uploaded by contractor as part of their application at a later time by the contractor, or it can be completed online during the application process. A copy of the completed Customer Resiliency Plans will be provided to the EDCs for their records.

## Resiliency Data Collection Form
Battery Energy Storage Solutions Program
Resiliency Plan
Date: XX/XX/XXXX
Data fields to be captured during the incentive application process
Contact Information Customer/End-User
1 | Company Name
2 | Address, City, State, Zip Code
3 | Contact Name
4 | E-Mail
5 | Phone Number
6 | Type of Business
7 | Business Hours of Operation
8 | Customer rate class information
Contact Information Contractor
9 | Company Name
10 | Address
11 | Contact Name
12 | E-Mail
13 | Phone Number
Battery Energy Storage System Information
14 | Battery Manufacturer
15 | Battery Model (s) and quantity ea.
16 | Inverter Manufacturer
17 | ESS Technology
18 | Inverter Model
19 | Name Plate Inverter Rating Power (MVA)
20 | Name Plate Rating Energy Storage Capacity (MWh)
Battery Storage Information
21 | Are you a small business as defined by the Program Manual?
22 | Are you a critical facility as defined by the Program Manual?
23 | Are you a C&I customer with onsite fossil fuel generation?
24 | Are you on the Grid Edge as defined by the Program Manual?
Blue Sky Operating Procedure
25 | Will the storage system be participating in NE ISO Forward Capacity Markets?
26 | Will the storage system be participating in NE ISO Wholesale Energy Markets?
27 | Will the storage system be participating in NE ISO Ancillary Service Markets?
28 | Will the storage system be used for daily peak shaving of the site’s electrical use?
29 | What percent of the storage capacity will be held in reserve at all times for resilience needs?
Black Sky Operating Procedure
30 | How many hours a day of back up operation will the energy storage system enable during outage event?
30b | What percentage of normal energy consumption (kWh) with the Energy Storage System enable during outage events?
31 | Please describe how you expect to recharge the storage asset for a multi-day event to facilitate the operation described above.
32 | For a typical 24-hour period, please provide an hourly profile for:
32a | Expected load supported by battery during a multi-day outage event | COMPLETE BESS LOAD PROFILE- LOAD DATA
32b | Expected energy storage system dispatch during a multi-day outage event | COMPLETE BESS LOAD PROFILE- LOAD DATA
Onsite Generation
33 | Will this storage system replace an existing fossil-fuel generator? If No, proceed to #34
33a | Please specify Make, Model, Size (MW), Year Installed
33b | If onsite fuel storage is required for existing generator, please indicate size of fuel storage tank.
34 | How many hours of back up operation does the generator enable during an outage event?
34a | What percentage of normal energy consumption (energy use) does the generator enable during an outage event?
35 | Are there any other onsite generation resources (e.g. solar PV, fuel cells, CHP or other, which are not replaced by the battery storage)?
35a | If so, please specify Type, Make, Model, Size (MW_electric), Fuel Source, and Age
35b | If onsite fuel storage is required for other generation resources, please indicate size of fuel storage tank.
Limitation of Liability
WITH RESPECT TO ANY LIABILITY HEREUNDER, THE ELECTRIC DISTRIBUTION COMPANY SHALL NOT BE LIABLE FOR ANY CONSEQUENTIAL, INCIDENTAL, PUNITIVE, EXEMPLARY OR INDIRECT DAMAGES, LOST PROFITS, OR BUSINESS INTERRUPTION DAMAGES, WHETHER BY STATUTE, IN TORT OR IN CONTRACT, UNDER ANY INDEMNITY PROVISION OR OTHERWISE.

## Load Data
Item # | Load Data Profiles to support customer/contractor Resiliency Plan (Customers over 500 KW Peak Should Review Hourly Interval Load Profiles)
1 | Average Daily Energy Usage last 24 months (kWh)
|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Workday
Weekend
2 | Maximum Peak Demand last 24 Months (kW)
Workday
Weekend
3 | Expected Load Profile Requiring BESS Support
| Hour | Jan: Expected BESS Load (kW); Jul: Expected Discharge of BESS (kW)
Hour Ending In | 1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00
24:00
Limitation of Liability
WITH RESPECT TO ANY LIABILITY HEREUNDER, THE ELECTRIC DISTRIBUTION COMPANY SHALL NOT BE LIABLE FOR ANY CONSEQUENTIAL, INCIDENTAL, PUNITIVE, EXEMPLARY OR INDIRECT DAMAGES, LOST PROFITS, OR BUSINESS INTERRUPTION DAMAGES, WHETHER BY STATUTE, IN TORT OR IN CONTRACT, UNDER ANY INDEMNITY PROVISION OR OTHERWISE.

## Resiliency Planning Template
RESILIENCY PLANNING TEMPLATE
What actions will you take to identify and connect the loads you will require to have the BESS provide adequate backup for a singular and a multi day event?
What is your plan to implement back up services from the BESS when an outage occurs? Describe what actions you will take to ensure your battery is discharging when needed to serve the designated loads?
If you are requiring coverage for multi day outages, what is your plan to manage battery availability for the designated loads?