## Residential 1-4 Family (2023)
Residential Incentive Estimate Calculator
INSTRUCTIONS: Complete the orange shaded fields 1-6. Optionally, edit the values in fields 7-9.
Residential Battery System – 8 kW / 18 kWh
Battery System Inputs
1 | 8 | kW
2 | 18 | kWh
3 | 31500 | Total BESS Cost (Not including solar PV)
Customer Class Inputs
4 | N/A | Underserved Community? | 200
5 | No | Low Income? | 200
6 | No | Grid-Edge? | 1
Residential Battery System – 8 kW / 18 kWh
| Your Estimated Upfront Incentive |  |  | 3600
| Rate ($ per kWh) |  |  | 200
| Upfront Incentive Calculation |  |  | Rate * kWh
| Your Estimated 10-Year Performance Incentive Total (Nominal) |  |  | 5964.5836
| PBI Estimation Method |  |  | Average kW
Active Dispatch Assumptions
7 | 2.5% | Annual Degradation of Battery | Default value 2.5%, varies by manufacturer.
8 | 80% | Maximum Depth of Discharge | Default value 80%, varies by manufacturer.
9 | 75% | Participation Rate | Default value 75%, varies based on weather, recharge rate, number and timing of events, and customer opt-out per-event. Estimated number of active events is 30-60 per summer and 1-5 per winter.
10 Year PBI Estimate
|  | Max Battery Capacity (kWh) | Average kW | Summer | Winter | Total
| Year 1 | 18 | 3.6 | 720 | 90 | 810 |  | 3933.9084 | 0.6
| Year 2 | 17.55 | 3.51 | 702 | 87.75 | 789.75 |  |  | 0.585
| Year 3 | 17.1113 | 3.4223 | 684.45 | 85.5563 | 770.0063 |  |  | 0.57038
| Year 4 | 16.6835 | 3.3367 | 667.3388 | 83.4173 | 750.7561 |  |  | 0.55612
| Year 5 | 16.2664 | 3.2533 | 650.6553 | 81.3319 | 731.9872 |  |  | 0.54221
| Year 6 | 15.8597 | 3.1719 | 396.4931 | 47.5792 | 444.0722 |  |  | 0.52866
| Year 7 | 15.4632 | 3.0926 | 386.5807 | 46.3897 | 432.9704 |  |  | 0.51544
| Year 8 | 15.0766 | 3.0153 | 376.9162 | 45.2299 | 422.1462 |  |  | 0.50255
| Year 9 | 14.6997 | 2.9399 | 367.4933 | 44.0992 | 411.5925 |  |  | 0.48999
| Year 10 | 14.3322 | 2.8664 | 358.306 | 42.9967 | 401.3027 |  |  | 0.47774
[5 empty] | Nominal PBI | 5964.5836
[5 empty] | 10% Discount | 3933.9084 | Average kW
[5 empty] | Revised | 2023-03-22

## C&I Tranche 2 (2023)
C&I Incentive Estimate Calculator
INSTRUCTIONS: Complete the orange shaded fields 1-5. Optionally, edit the values in fields 6-8.
Battery System – 765 kW / 3068 kWh
Battery System Inputs
1 | 765 | kW
2 | 3068 | kWh
3 | 3000000 | Total BESS Cost
Customer Class Inputs
4 | 500 | Annual Peak Demand (kW)
5 | Grid-Edge | Priority Status | All Small C&I customers with annual peak demand < 200 kW qualify as "Small Business"
| OK | 1.5x / 2 MW Incentive Cap
Battery System – 765 kW / 3068 kWh
| Your Estimated Upfront Incentive (Tiered) |  |  | 383500
| Upfront Incentive Method |  |  | Rate * kWh (tiered)
| Your Estimated 10-Year Performance Incentive Total (Nominal) |  |  | 1016630.1307
Estimate does not include ITC, solar PV, or demand management benefits.
| Active Dispatch Assumptions | [5 empty] | 1.53
6 | 2.5% | Annual Degradation | Default value 2.5%, varies by manufacturer.
7 | 80% | Maximum DoD | Default value 80%, varies by manufacturer.
8 | 75% | Participation | Default value 75%, varies based on weather, recharge rate, number and timing of events, and customer opt-out per-event. Estimated number of active events is 30-60 per summer and 1-5 per winter.
10 Year PBI Estimate
|  | Max Battery Capacity (kWh) | Average kW | Summer | Winter | Total |  | Inverter Output
| Year 1 | 3068 | 613.6 | 122720 | 15340 | 138060 |  | 765
| Year 2 | 2991.3 | 598.26 | 119652 | 14956.5 | 134608.5 |  | 765
| Year 3 | 2916.5175 | 583.3035 | 116660.7 | 14582.5875 | 131243.2875 |  | 765
| Year 4 | 2843.6046 | 568.7209 | 113744.1825 | 14218.0228 | 127962.2053 |  | 765
| Year 5 | 2772.5144 | 554.5029 | 110900.5779 | 13862.5722 | 124763.1502 |  | 765
| Year 6 | 2703.2016 | 540.6403 | 67580.0397 | 8109.6048 | 75689.6444 |  | 765
| Year 7 | 2635.6215 | 527.1243 | 65890.5387 | 7906.8646 | 73797.4033 |  | 765
| Year 8 | 2569.731 | 513.9462 | 64243.2752 | 7709.193 | 71952.4682 |  | 765
| Year 9 | 2505.4877 | 501.0975 | 62637.1933 | 7516.4632 | 70153.6565 |  | 765
| Year 10 | 2442.8505 | 488.5701 | 61071.2635 | 7328.5516 | 68399.8151 |  | 765
[5 empty] | Nominal | 1016630.1307
[5 empty] | 10% Discount | 670512.8314
[5 empty] | Revised | 2023-05-10
| Calculations | Customer Class | Large C&I
|  | Inverter to Demand Ratio | 1.53
|  | kWh/kW Ratio | 4.0105
|  | Small Tier | 0
|  | Medium Tier | 0
|  | Large Tier | 3068
OK
|  | Estimated Upfront Incentive | 306800

## Picklists (hidden)
Y/N | PARTICIPATION | DEGRADATION | RATE | CI PRIORITY | PRIORITY | DISTRESSED MUNICIPALITY | ITC ADDER
Yes | 100% | 0% | Tiered Rate | None | Standard | N/A
No | 95% | 0.5% | Single Rate | Grid-Edge | Underserved | Ansonia
| 90% | 1% |  | Critical Facility | Low-Income | Bridgeport
| 85% | 1.5% |  | Small Business | MFAH | Bristol
| 80% | 2% |  | Replacing Generator |  | Chaplin
| 75% | 2.5% |  |  |  | Derby
| 70% | 3% |  |  |  | East Hartford
| 65% | 3.5% |  |  |  | East Haven
| 60% | 4% |  |  |  | Griswold
| 55% | 4.5% |  |  |  | Groton
| 50% | 5% |  |  |  | Hartford
| 45% | 5.5% |  |  |  | Meriden
| 40% | 6% |  |  |  | Montville
| 35% | 6.5% |  |  |  | New Britain
| 30% | 7% |  |  |  | New London
| 25% | 7.5% |  |  |  | North Stonington
| 20% | 8% |  |  |  | Norwich
| 15% | 8.5% |  |  |  | Plainfield
| 10% | 9% |  |  |  | Putnam
| 5% | 9.5% |  |  |  | Sprague
| 0% | 10% |  |  |  | Sterling
Torrington
Waterbury
West Haven
Winchester
Windham